## b05
Selected(x) | Name | ObjectType | Description | engunits | TimeStamp | Value
| USWRCKY.MAB005.AJA10.BA001.WCNV1.AvPPVPhs.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Grid current (A) : W ROCKYR 34.5 WTB05 I GRID A | AMPS | 2022-11-03 17:46 | 398.4563
| USWRCKY.MAB005.AJA10.BA001.WCNV1.GriA.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Grid Availability : W ROCKYR 34.5 WTB05 STAT GRID AVAIL |  | 2022-11-03 17:46 | 1400.5358
| USWRCKY.MAB005.AJA10.WTUR1.GriAvl.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Voltage A to N (V) : W ROCKYR 34.5 WTB05 V AN V | V | 2022-11-03 17:24 | AVAILABLE
| USWRCKY.MAB005.AxA10.BA001.WCNV1.PhsAGriPNV.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Voltage B to N (V) : W ROCKYR 34.5 WTB05 V BN V | V | 2022-11-03 17:46 | 397.7953
| USWRCKY.MAB005.AxA10.BA001.WCNV1.PhsBGriPNV.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Voltage C to N (V) : W ROCKYR 34.5 WTB05 V CN V | V | 2022-11-03 17:46 | 401.0879
| USWRCKY.MAB005.AxA10.BA001.WCNV1.PhsCGriPNV.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Line frequency (Hz) : W ROCKYR 34.5 WTB05 FREQ HZ | HZ | 2022-11-03 17:46 | 397.0625
| USWRCKY.MAB005.AxA10.BE001.WCNV1.GriHz.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Active power (kW) : W ROCKYR 34.5 WTB05 P KW | KW | 2022-11-03 17:46 | 59.9771
| USWRCKY.MAB005.AxA10.BJ001.WTUR1.W.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 WFMS Curtailment Energy Lost (kWh) : W ROCKYR 34.5 WTB05 LOSTP WFMS KWH | KWH | 2022-11-03 17:46 | 1658.1415
| USWRCKY.MAB005.DBB10.WROT1.CmdPthAuto.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Switch Pitch Mode to Manual : W ROCKYR 34.5 WTB05 CMD PITCH MAN |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WROT1.CmdPthMan.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Pitch Blades towards Full Capture : W ROCKYR 34.5 WTB05 CMD PITCH MINUS |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WROT1.CmdPthMin.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Pitch Blades towards Feather : W ROCKYR 34.5 WTB05 CMD PITCH PLUS |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WROT1.CmdPthPl.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Pitch all blades to man setpoint : W ROCKYR 34.5 WTB05 CMD PITCH SET ALL |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WROT1.PthStop.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Run Manual Battery Test : W ROCKYR 34.5 WTB05 CMD BATT TEST |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WTUR1.CmdBattTst.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Close Brake : W ROCKYR 34.5 WTB05 CMD CLOSE BRAKE |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WTUR1.CmdClsBrk.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Idle turbine : W ROCKYR 34.5 WTB05 CMD WTG IDLE |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WTUR1.CmdIdlTur.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Load Shut Down Turbine : W ROCKYR 34.5 WTB05 CMD LOAD SHUT DOWN |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WTUR1.CmdLdShtD.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Reboot PLC : W ROCKYR 34.5 WTB05 CMD REBOOT PLC |  | 2022-11-03 17:24 | SHUTNGDN
| USWRCKY.MAB005.DBB10.WTUR1.CmdStdby.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Start Turbine : W ROCKYR 34.5 WTB05 CMD WTG START |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WTUR1.CmdStr.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Energy Curtailment Time (s) : W ROCKYR 34.5 WTB05 T CURT S | S | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WTUR1.Curt.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 ALC Yaw Mapping Curt. Time (s) : W ROCKYR 34.5 WTB05 T CURT ALC S | S | 2022-11-03 17:42 | 0
| USWRCKY.MAB005.DBB10.WTUR1.CurtExt.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 UPE: WFMS Curtailment Time (s) : W ROCKYR 34.5 WTB05 T CURT EXTUPE S | S | 2022-11-03 17:21 | 0
| USWRCKY.MAB005.DBB10.WTUR1.CurtInt.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 UPE: Internal Curtailment Time (s) : W ROCKYR 34.5 WTB05 T CURT INTUPE S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR1.CurtIntupe.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Extreme Cold Curtailment Time (s) : W ROCKYR 34.5 WTB05 T CURT LOWTMP S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR1.ExtLimStp.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB05 Internal curtailment setpoint (kW) : W ROCKYR 34.5 WTB05 P SET CURT INT KW | KW | 2022-02-03 14:30 | Scan Off
| USWRCKY.MAB005.DBB10.WTUR1.IntLimStp.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB05 Noise Reduction Energy Lost (kWh) : W ROCKYR 34.5 WTB05 LOSTP NOISE KWH | KWH | 2022-02-03 14:30 | Scan Off
| USWRCKY.MAB005.DBB10.WTUR1.StErr.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Customer Stop Time (s) : W ROCKYR 34.5 WTB05 T STOP CUST S | S | 2022-11-03 17:24 | OK
| USWRCKY.MAB005.DBB10.WTUR1.StpCust.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Wind Direction Stop Time (s) : W ROCKYR 34.5 WTB05 T STOP WD S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR1.StpWd.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Temp. control box (deg C) : W ROCKYR 34.5 WTB05 TMP CTRLBOX DEGC | DEGC | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR1.TmpCtrlBx.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Temp. main box (deg C) : W ROCKYR 34.5 WTB05 TMP MAINBOX DEGC | DEGC | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB005.DBB10.WTUR1.TmpMainBx.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Temp. top box (deg C) : W ROCKYR 34.5 WTB05 TMP TOPBOX DEGC | DEGC | 2022-11-03 17:35 | 33.125
| USWRCKY.MAB005.DBB10.WTUR1.TmpTopBx.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Weather Out Time (s) : W ROCKYR 34.5 WTB05 T STOP WEATHER S | S | 2022-11-03 17:27 | 37.0625
| USWRCKY.MAB005.DBB10.WTUR1.TotCutEnvTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 External Stop Time (s) : W ROCKYR 34.5 WTB05 T STOP EXT S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR1.TotCutExTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Line Out Time (s) : W ROCKYR 34.5 WTB05 T STOP LINEOUT S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR1.TotCutGriTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Downtime (s) : W ROCKYR 34.5 WTB05 T STOP S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR1.TotDnTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Maintenance Time (s) : W ROCKYR 34.5 WTB05 T STOP MAINT S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR1.TotMaintTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Run Time (s) : W ROCKYR 34.5 WTB05 T RUN S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR1.TotOpTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Repair Time (s) : W ROCKYR 34.5 WTB05 T STOP REPAIR S | S | 2022-11-03 17:46 | 305
| USWRCKY.MAB005.DBB10.WTUR1.TotRprTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 System OK Time (s) : W ROCKYR 34.5 WTB05 T AVAIL S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR1.TotSysRdyTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 WTG Availability : W ROCKYR 34.5 WTB05 STAT WTG AVAIL |  | 2022-11-03 17:46 | 305
| USWRCKY.MAB005.DBB10.WTUR1.TurAvl.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Operating State : W ROCKYR 34.5 WTB05 STAT OPSTATE | NONE | 2022-11-03 17:24 | AVAILABLE
| USWRCKY.MAB005.DBB10.WTUR1.TurSt.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Turbine State Extended : W ROCKYR 34.5 WTB05 STAT WTG STATE EXT | NONE | 2022-11-03 17:33 | 30
| USWRCKY.MAB005.DBB10.WTUR1.TurStExt.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Turbine State for SCADA : W ROCKYR 34.5 WTB05 STAT WTG STATE | NONE | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB005.DBB10.WTUR1.TurStScada.stVal | PIPoint | Rocky Ridge 34.5 WTB05 UPE: Int. curtailment setpoint (kW) : W ROCKYR 34.5 WTB05 P SET CURT INTUPE KW | KW | 2022-11-03 17:33 | 1
| USWRCKY.MAB005.DBB10.WTUR1.UpeIntLimStp.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB05 WindBOOST Enabled Time (s) : W ROCKYR 34.5 WTB05 T WINDBOOST AVAIL S | S | 2022-02-03 14:30 | Scan Off
| USWRCKY.MAB005.DBB10.WTUR1.WdBstAvl.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 WindBOOST Boosted Time (s) : W ROCKYR 34.5 WTB05 T WINDBOOST ONLINE S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR1.WdBstOnl.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB05 UPE: WFMS curtailment setpoint (kW) : W ROCKYR 34.5 WTB05 P SET CURT EXTUPE KW | KW | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR1.WfmsLimStp.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB05 Turbine Condition for SCADA (high) : W ROCKYR 34.5 WTB05 STAT WTG MODE HI | NONE | 2022-02-03 14:30 | Scan Off
| USWRCKY.MAB005.DBB10.WTUR1.WtgModHi.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Turbine Condition for SCADA (low) : W ROCKYR 34.5 WTB05 STAT WTG MODE LO | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBB10.WTUR1.WtgModLo.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Turbine Status for SCADA : W ROCKYR 34.5 WTB05 STAT WTG STATUS | NONE | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.DBB10.WTUR2.TurStScada.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Availability, MTD (%) : W ROCKYR 34.5 WTB05 WTG AVAIL MTD PCT | PCT | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB005.DBB10.WTUR5.AvlPct.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Reliability, MTD (%) : W ROCKYR 34.5 WTB05 WTG RELI MTD PCT | PCT | 2022-11-03 17:24 | 100
| USWRCKY.MAB005.DBB10.WTUR5.RelPct.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Availability, YTD (%) : W ROCKYR 34.5 WTB05 WTG AVAIL YTD PCT | PCT | 2022-11-03 17:24 | 100
| USWRCKY.MAB005.DBB10.WYAW1.CmdYwAuto.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Turn Yaw Left : W ROCKYR 34.5 WTB05 CMD YAW LEFT |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WYAW1.CmdYwLeft.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Set Yaw Mode to Manual : W ROCKYR 34.5 WTB05 CMD YAW MAN |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WYAW1.CmdYwMan.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Run Yaw Lub. Pump : W ROCKYR 34.5 WTB05 CMD YAW PUMP |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WYAW1.CmdYwRght.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Stop Turning Yaw : W ROCKYR 34.5 WTB05 CMD YAW STOP |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBB10.WYAW1.CmdYwStop.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Number of Active Alarms : W ROCKYR 34.5 WTB05 N FAULT | NONE | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBF10.WTUR1.AlmActNum.stVal | PIPoint | Rocky Ridge 34.5 WTB05 State and Fault : W ROCKYR 34.5 WTB05 STAT STATEFAULT | NONE | 2022-11-03 17:37 | 0
| USWRCKY.MAB005.DBF10.WTUR1.AlmCod.stVal | PIPoint | Rocky Ridge 34.5 WTB05 CMD Reset Turbine : W ROCKYR 34.5 WTB05 CMD WTG RESET |  | 2022-11-03 17:33 | 2
| USWRCKY.MAB005.DBF10.WTUR1.CmdAck.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Digital Group A (high) : W ROCKYR 34.5 WTB05 DIGITAL A HI | NONE | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.DBF10.WTUR1.Evnt001016.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 017-032 : W ROCKYR 34.5 WTB05 EVENT 017 032 | NONE | 2022-11-03 17:33 | 34
| USWRCKY.MAB005.DBF10.WTUR1.Evnt017032.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 033-048 : W ROCKYR 34.5 WTB05 EVENT 033 048 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt033048.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 049-064 : W ROCKYR 34.5 WTB05 EVENT 049 064 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt049064.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 065-080 : W ROCKYR 34.5 WTB05 EVENT 065 080 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt065080.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 081-096 : W ROCKYR 34.5 WTB05 EVENT 081 096 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt081096.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 097-112 : W ROCKYR 34.5 WTB05 EVENT 097 112 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt097112.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 113-128 : W ROCKYR 34.5 WTB05 EVENT 113 128 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt113128.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 129-144 : W ROCKYR 34.5 WTB05 EVENT 129 144 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt129144.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 145-160 : W ROCKYR 34.5 WTB05 EVENT 145 160 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt145160.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 161-176 : W ROCKYR 34.5 WTB05 EVENT 161 176 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt161176.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 177-192 : W ROCKYR 34.5 WTB05 EVENT 177 192 | NONE | 2022-11-03 17:36 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt177192.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 193-208 : W ROCKYR 34.5 WTB05 EVENT 193 208 | NONE | 2022-11-03 17:33 | 64
| USWRCKY.MAB005.DBF10.WTUR1.Evnt193208.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 209-224 : W ROCKYR 34.5 WTB05 EVENT 209 224 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt209224.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 225-240 : W ROCKYR 34.5 WTB05 EVENT 225 240 | NONE | 2022-11-03 17:36 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt225240.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 241-256 : W ROCKYR 34.5 WTB05 EVENT 241 256 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt241256.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 257-272 : W ROCKYR 34.5 WTB05 EVENT 257 272 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt257272.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 273-288 : W ROCKYR 34.5 WTB05 EVENT 273 288 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt273288.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 289-304 : W ROCKYR 34.5 WTB05 EVENT 289 304 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt289304.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 305-320 : W ROCKYR 34.5 WTB05 EVENT 305 320 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt305320.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 321-336 : W ROCKYR 34.5 WTB05 EVENT 321 336 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt321336.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 337-352 : W ROCKYR 34.5 WTB05 EVENT 337 352 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt337352.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 353-368 : W ROCKYR 34.5 WTB05 EVENT 353 368 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt353368.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 369-384 : W ROCKYR 34.5 WTB05 EVENT 369 384 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt369384.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 385-400 : W ROCKYR 34.5 WTB05 EVENT 385 400 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt385400.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 401-416 : W ROCKYR 34.5 WTB05 EVENT 401 416 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt401416.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 417-432 : W ROCKYR 34.5 WTB05 EVENT 417 432 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt417432.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 433-448 : W ROCKYR 34.5 WTB05 EVENT 433 448 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt433448.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 449-464 : W ROCKYR 34.5 WTB05 EVENT 449 464 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt449464.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 497-512 : W ROCKYR 34.5 WTB05 EVENT 497 512 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt497512.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Events Group 897-912 : W ROCKYR 34.5 WTB05 EVENT 897 912 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.DBF10.WTUR1.Evnt897912.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Status Group 1 : W ROCKYR 34.5 WTB05 STATUS 01 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB005.MDA10.BG001.WROT1.Bl1PthAngTgt.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Blade 1 pitch angle (deg) : W ROCKYR 34.5 WTB05 BLDANG A DEG | DEG | 2022-11-03 17:46 | 5.4944
| USWRCKY.MAB005.MDA10.BG001.WROT1.Bl1PthAngVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Blade 2 pitch angle setpoint (deg) : W ROCKYR 34.5 WTB05 BLDANG B SET DEG | DEG | 2022-11-03 17:46 | 5.3614
| USWRCKY.MAB005.MDA10.BG002.WROT1.Bl2PthAngTgt.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Blade 2 pitch angle (deg) : W ROCKYR 34.5 WTB05 BLDANG B DEG | DEG | 2022-11-03 17:46 | 6.3195
| USWRCKY.MAB005.MDA10.BG002.WROT1.Bl2PthAngVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Blade 3 pitch angle setpoint (deg) : W ROCKYR 34.5 WTB05 BLDANG C SET DEG | DEG | 2022-11-03 17:46 | 6.5923
| USWRCKY.MAB005.MDA10.BG003.WROT1.Bl3PthAngTgt.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Blade 3 pitch angle (deg) : W ROCKYR 34.5 WTB05 BLDANG C DEG | DEG | 2022-11-03 17:46 | 6.1073
| USWRCKY.MAB005.MDA10.BG003.WROT1.Bl3PthAngVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Torque, actual value (%) : W ROCKYR 34.5 WTB05 TORQ PCT | PCT | 2022-11-03 17:46 | 5.783
| USWRCKY.MAB005.MDA10.BW001.WCNV1.Torq.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Torque, set value (%) : W ROCKYR 34.5 WTB05 TORQ SET PCT | PCT | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB005.MDA10.BW001.WCNV1.TorqSpt.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB05 Capacity Factor (%) : W ROCKYR 34.5 WTB05 CF PCT | PCT | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB005.MDA10.WPPD1.CapFact.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Capacity Factor, MTD (%) : W ROCKYR 34.5 WTB05 CF MTD PCT | PCT | 2022-11-03 17:46 | 100.3219
| USWRCKY.MAB005.MDA10.WPPD5.CapFact.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Pitch Mode : W ROCKYR 34.5 WTB05 MODE PITCH | NONE | 2022-11-03 17:38 | 51.0921
| USWRCKY.MAB005.MDA10.WTUR1.Wnom.setVal | PIPoint | Rocky Ridge 34.5 WTB05 Set Blade 1 Pitch Angle FBK (deg) : W ROCKYR 34.5 WTB05 SET BLDANG A DEG FBK | DEG | 2022-11-03 17:20 | 1620
| USWRCKY.MAB005.MDA20.BG901.WROT1.Bl1PthAngTgt.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Set Blade 2 Pitch Angle FBK (deg) : W ROCKYR 34.5 WTB05 SET BLDANG B DEG FBK | DEG | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB005.MDA20.BG901.WROT1.Bl2PthAngTgt.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Set Blade 3 Pitch Angle FBK (deg) : W ROCKYR 34.5 WTB05 SET BLDANG C DEG FBK | DEG | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB005.MDA20.BG901.WROT1.Bl3PthAngTgt.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Gen. speed setpoint, pitch (rpm) : W ROCKYR 34.5 WTB05 GENSPD SET PTCH RPM | RPM | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB005.MDA20.BS901.WGEN1.RotSpdSpt.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB05 Set Generator Speed FBK (rpm) : W ROCKYR 34.5 WTB05 SET GENSPD RPM FBK | RPM | 2022-11-03 17:34 | 1499.9972
| USWRCKY.MAB005.MDA20.BS901.WGEN1.RotSpdSptFdbk.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB05 Rotor speed, PLC (rpm) : W ROCKYR 34.5 WTB05 RTRSPD PLC RPM | RPM | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB005.MDA20.BS901.WROT1.RotSpd.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Gearbox Particle Counter : W ROCKYR 34.5 WTB05 N GBX PARTICLE | NONE | 2022-11-03 17:46 | 17.5453
| USWRCKY.MAB005.MDK10.BS001.WTRM1.ShftVbr.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Temp. gearbox bearing (deg C) : W ROCKYR 34.5 WTB05 BRGTMP GBX A DEGC | DEGC | 2022-11-03 17:46 | 93.8738
| USWRCKY.MAB005.MDK10.BT001.WTRM1.GbxBrg1Tmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Temp. gearbox oil (deg C) : W ROCKYR 34.5 WTB05 GBXTMP OIL DEGC | DEGC | 2022-11-03 17:33 | 67.5642
| USWRCKY.MAB005.MDK20.BT001.WTRM1.GbxTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Gearbox Heat Up Energy Lost (kWh) : W ROCKYR 34.5 WTB05 LOSTP GBXHEAT KWH | KWH | 2022-11-03 17:44 | 57.9955
| USWRCKY.MAB005.MDK50.BT001.WTRM1.GbxBrgTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Nacelle yaw position : W ROCKYR 34.5 WTB05 YAWPOS | NONE | 2022-11-03 17:42 | 36.7416
| USWRCKY.MAB005.MDL10.BG001.WYAW1.CabWup.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 ALC Yaw Mapping Energy Lost (kWh) : W ROCKYR 34.5 WTB05 LOSTP ALC KWH | KWH | 2022-11-03 17:44 | 0.65879
| USWRCKY.MAB005.MDX10.BP001.WTRM1.HyPres.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 External curtailment detected : W ROCKYR 34.5 WTB05 FLAG CURT EXT |  | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB005.MDY10.BJ001.WTUR1.ExWLim.almStatus.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Internal curtailment detected : W ROCKYR 34.5 WTB05 FLAG CURT INT |  | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB005.MDY10.BJ001.WTUR1.InWLim.almStatus.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Flag for Local Dispatch : W ROCKYR 34.5 WTB05 LOCAL DISPATCH |  | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB005.MDY10.WTUR1.LocDsp.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Active Energy Consumption (kWh) : W ROCKYR 34.5 WTB05 TOTP CON KWH | KWH | 2022-11-03 17:24 | OFF
| USWRCKY.MAB005.MKA00.BJ001.WTUR1.TotDmdWh.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB05 Active Energy Production (kWh) : W ROCKYR 34.5 WTB05 TOTP PROD KWH | KWH | 2022-11-03 17:32 | 0
| USWRCKY.MAB005.MKA00.BJ001.WTUR1.TotWh.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB05 WindBOOST Production (kWh) : W ROCKYR 34.5 WTB05 TOTP WINDBOOST KWH | KWH | 2022-11-03 17:46 | 141
| USWRCKY.MAB005.MKA00.BJ001.WTUR1.WdBstWh.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB05 Net Active Energy (kWh) : W ROCKYR 34.5 WTB05 TOTP NET KWH | KWH | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.MKA00.BJ001.WTUR2.TotWh.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB05 10-min Avg. Active Power (kW) : W ROCKYR 34.5 WTB05 P 10M ACT KW | KW | 2022-11-03 17:31 | 0
| USWRCKY.MAB005.MKA00.BJ002.WGEN1.AvW10.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 10-min Expected Active Power (kW) : W ROCKYR 34.5 WTB05 P 10M EXP KW | KW | 2022-11-03 17:43 | 1375.6055
| USWRCKY.MAB005.MKA00.BJ002.WGEN1.AvW10Exp.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Reactive Energy, Capacitive (kVArh) : W ROCKYR 34.5 WTB05 TOTQ CAP KVARH | KVARH | 2022-11-03 17:40 | 1372.7959
| USWRCKY.MAB005.MKA00.BJ011.WTUR1.TotQCap.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB05 Reactive Energy, Inductive (kVArh) : W ROCKYR 34.5 WTB05 TOTQ IND KVARH | KVARH | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.MKA00.BJ011.WTUR1.TotQInd.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB05 Reactive Energy Production (kVArh) : W ROCKYR 34.5 WTB05 TOTQ NET KVARH | KVARH | 2022-11-03 17:44 | 2
| USWRCKY.MAB005.MKA00.BJ011.WTUR1.TotVArh.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB05 Reactive power, CCU (kVAr) : W ROCKYR 34.5 WTB05 Q CCU KVAR | KVAR | 2022-11-03 17:42 | 0
| USWRCKY.MAB005.MKA00.BJ011.WTUR1.VAr.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Temp. gen. stator winding 1 (deg C) : W ROCKYR 34.5 WTB05 GENTMP STAT1 DEGC | DEGC | 2022-02-03 14:30 | Scan Off
| USWRCKY.MAB005.MKA30.BT001.WGEN1.SttTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Temp. gen. stator winding 2 (deg C) : W ROCKYR 34.5 WTB05 GENTMP STAT2 DEGC | DEGC | 2022-11-03 17:46 | 86.5491
| USWRCKY.MAB005.MKA30.BT002.WGEN1.RotTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Torque command to CU (Nm) : W ROCKYR 34.5 WTB05 TORQ SET NM | NM | 2022-11-03 17:46 | 85.5138
| USWRCKY.MAB005.MKA30.BW001.WGEN1.TorqCmd.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Generator speed, PLC (rpm) : W ROCKYR 34.5 WTB05 GENSPD PLC RPM | RPM | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB005.MKA40.BS901.WGEN1.RotSpd.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Gen. speed setpoint, torque (rpm) : W ROCKYR 34.5 WTB05 GENSPD SET TORQ RPM | RPM | 2022-11-03 17:46 | 1503.259
| USWRCKY.MAB005.MKA40.BS901.WGEN1.RotSpdSpt2.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB05 Generator speed, CCU (rpm) : W ROCKYR 34.5 WTB05 GENSPD CCU RPM | RPM | 2022-11-03 17:34 | 1489.9972
| USWRCKY.MAB005.MKA40.CS901.WCNV1.CnvGnRotSpd.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Current A (A) : W ROCKYR 34.5 WTB05 I A A | AMPS | 2022-11-03 17:46 | 1503.1177
| USWRCKY.MAB005.MKC10.BC001.WCNV1.PhsAGriA.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Current B (A) : W ROCKYR 34.5 WTB05 I B A | AMPS | 2022-11-03 17:46 | 1383.006
| USWRCKY.MAB005.MKC10.BC001.WCNV1.PhsBGriA.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Current C (A) : W ROCKYR 34.5 WTB05 I C A | AMPS | 2022-11-03 17:46 | 1392.767
| USWRCKY.MAB005.MKC10.BC001.WCNV1.PhsCGriA.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Reactive power (kVAr) : W ROCKYR 34.5 WTB05 Q KVAR | KVAR | 2022-11-03 17:46 | 1387.5952
| USWRCKY.MAB005.MKC10.BJ011.WTUR1.VAr.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Temp. generator bearing DS (deg C) : W ROCKYR 34.5 WTB05 BRGTMP GEN DS DEGC | DEGC | 2022-11-03 17:45 | -20.4007
| USWRCKY.MAB005.MKD21.BT001.WGEN1.Brg1Tmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Temp. generator bearing NDS (deg C) : W ROCKYR 34.5 WTB05 BRGTMP GEN NDS DEGC | DEGC | 2022-11-03 17:46 | 38.611
| USWRCKY.MAB005.MKD22.BT001.WGEN1.Brg2Tmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Temp. gen. cooling system (deg C) : W ROCKYR 34.5 WTB05 GENTMP COOL DEGC | DEGC | 2022-11-03 17:41 | 48.0702
| USWRCKY.MAB005.MKJ10.BT001.WGEN1.InletTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Power factor, set value : W ROCKYR 34.5 WTB05 PF SET | NONE | 2022-11-03 17:42 | 68.5954
| USWRCKY.MAB005.MKY10.BJ031.WAPC1.PFSpt.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Power factor : W ROCKYR 34.5 WTB05 PF | NONE | 2022-02-03 14:30 | Scan Off
| USWRCKY.MAB005.MKY10.BJ031.WCNV1.GriPF.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Circuit Breaker Switch Counter : W ROCKYR 34.5 WTB05 N CRCT BRKR SWITCH | NONE | 2022-11-03 17:34 | -0.99962
| USWRCKY.MAB005.MSA10.QA052.WTUR1.SwTgrCnt.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB05 K1 Breaker Counter : W ROCKYR 34.5 WTB05 N K1 BREAKER | NONE | 2022-11-03 17:35 | 0
| USWRCKY.MAB005.MSC10.WGEN1.K1BrkCnt.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Nacelle yaw direction (deg) : W ROCKYR 34.5 WTB05 YAWDIR DEG | DEG | 2022-11-03 17:42 | 0
| USWRCKY.MAB005.MUD10.BG001.WNAC1.Dir.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Nacelle temp. (deg C) : W ROCKYR 34.5 WTB05 NACTMP DEGC | DEGC | 2022-11-03 17:44 | 117
| USWRCKY.MAB005.MUD10.BT001.WNAC1.IntnTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Communication Status : W ROCKYR 34.5 WTB05 STAT COMM |  | 2022-11-03 17:25 | 24.7302
| USWRCKY.MAB005.MYA10.KF003.WTUR1.ComSt.stVal | PIPoint | Rocky Ridge 34.5 WTB05 Wind Speed Air Density Factor : W ROCKYR 34.5 WTB05 WS DENS FACTOR | NONE | 2022-11-03 17:24 | ON
| USWRCKY.MAB005.UMD10.BD011.WMET1.DenFact.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Wind direction (deg) : W ROCKYR 34.5 WTB05 WD DEG | DEG | 2022-11-03 17:44 | 0.99057
| USWRCKY.MAB005.UMD10.BG001.WMET1.InsWdDir.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Tower vibration period (ms) : W ROCKYR 34.5 WTB05 TWR VIB T MS | MS | 2022-11-03 17:46 | 101
| USWRCKY.MAB005.UMD10.BG901.WMET1.AvWdDir10.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 10-min Adj. Wind Speed (m/s) : W ROCKYR 34.5 WTB05 WS 10M ADJ MPS | MPS | 2022-11-03 17:43 | 118.1829
| USWRCKY.MAB005.UMD10.BS001.WMET1.AdjWdSpd10.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Wind speed (m/s) : W ROCKYR 34.5 WTB05 WS MPS | MPS | 2022-11-03 17:44 | 10.0444
| USWRCKY.MAB005.UMD10.BS001.WMET1.HorWdSpd.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 10-min Avg. Wind Speed (m/s) : W ROCKYR 34.5 WTB05 WS 10M MPS | MPS | 2022-11-03 17:46 | 11.0512
| USWRCKY.MAB005.UMD10.BS001.WMET1.HorWdSpd10.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Wind speed, unheated (m/s) : W ROCKYR 34.5 WTB05 WS REF MPS | MPS | 2022-11-03 17:43 | 10.1401
| USWRCKY.MAB005.UMD10.BS011.WROT1.NacDv1sec.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Tower sway, axial : W ROCKYR 34.5 WTB05 TWR SWAY AXIAL | NONE | 2022-11-03 17:46 | -16
| USWRCKY.MAB005.UMD10.BS011.WTOW1.TowVbr.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Relative wind direction 10 s (deg) : W ROCKYR 34.5 WTB05 WD REL 10S DEG | DEG | 2022-11-03 17:46 | 65.1396
| USWRCKY.MAB005.UMD10.BT001.WMET1.EnvTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Wind Deviation Energy Lost (kWh) : W ROCKYR 34.5 WTB05 LOSTP WD KWH | KWH | 2022-11-03 16:50 | 115.2804
| USWRCKY.MAB005.UMD29.BT001.WMET1.GndEnvTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB05 Flag for Internal Derate |  | 2022-11-03 17:46 | 24.0727
| W ROCKYR 34.5 WTB05 INTERNAL DERATE | PIPoint | Rocky Ridge 34.5 WTB05 Flag for Internal Derate |  | 2022-11-03 17:24 | OFF

## b06
Selected(x) | Name | ObjectType | Description | engunits | TimeStamp | Value
| USWRCKY.MAB006.AJA10.BA001.WCNV1.AvPPVPhs.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Grid voltage, CCU (V) : W ROCKYR 34.5 WTB06 V GRID V | V | 2022-11-03 17:48 | 397.4473
| USWRCKY.MAB006.AJA10.BA001.WCNV1.GriA.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Grid current (A) : W ROCKYR 34.5 WTB06 I GRID A | AMPS | 2022-11-03 17:48 | 1175.8809
| USWRCKY.MAB006.AJA10.WTUR1.GriAvl.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Grid Availability : W ROCKYR 34.5 WTB06 STAT GRID AVAIL |  | 2022-11-03 17:24 | AVAILABLE
| USWRCKY.MAB006.AxA10.BA001.WCNV1.PhsAGriPNV.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Voltage A to N (V) : W ROCKYR 34.5 WTB06 V AN V | V | 2022-11-03 17:48 | 396.5845
| USWRCKY.MAB006.AxA10.BA001.WCNV1.PhsBGriPNV.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Voltage B to N (V) : W ROCKYR 34.5 WTB06 V BN V | V | 2022-11-03 17:48 | 400.3302
| USWRCKY.MAB006.AxA10.BA001.WCNV1.PhsCGriPNV.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Voltage C to N (V) : W ROCKYR 34.5 WTB06 V CN V | V | 2022-11-03 17:48 | 395.4272
| USWRCKY.MAB006.AxA10.BE001.WCNV1.GriHz.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Line frequency (Hz) : W ROCKYR 34.5 WTB06 FREQ HZ | HZ | 2022-11-03 17:48 | 59.9856
| USWRCKY.MAB006.AxA10.BJ001.WTUR1.W.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Active power (kW) : W ROCKYR 34.5 WTB06 P KW | KW | 2022-11-03 17:48 | 1400.2122
| USWRCKY.MAB006.DBB10.WROT1.CmdPthAuto.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Switch Pitch Mode to Automatic : W ROCKYR 34.5 WTB06 CMD PITCH AUTO |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WROT1.CmdPthMan.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Switch Pitch Mode to Manual : W ROCKYR 34.5 WTB06 CMD PITCH MAN |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WROT1.CmdPthMin.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Pitch Blades towards Full Capture : W ROCKYR 34.5 WTB06 CMD PITCH MINUS |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WROT1.CmdPthPl.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Pitch Blades towards Feather : W ROCKYR 34.5 WTB06 CMD PITCH PLUS |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WROT1.PthStop.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Stop pitching blades : W ROCKYR 34.5 WTB06 CMD PITCH STOP |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WTUR1.CmdBattTst.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Run Manual Battery Test : W ROCKYR 34.5 WTB06 CMD BATT TEST |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WTUR1.CmdClsBrk.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Close Brake : W ROCKYR 34.5 WTB06 CMD CLOSE BRAKE |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WTUR1.CmdIdlTur.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Idle turbine : W ROCKYR 34.5 WTB06 CMD WTG IDLE |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WTUR1.CmdLdShtD.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Load Shut Down Turbine : W ROCKYR 34.5 WTB06 CMD LOAD SHUT DOWN |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WTUR1.CmdStdby.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Stop Turbine : W ROCKYR 34.5 WTB06 CMD WTG STOP |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WTUR1.CmdStr.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Start Turbine : W ROCKYR 34.5 WTB06 CMD WTG START |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WTUR1.Curt.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Energy Curtailment Time (s) : W ROCKYR 34.5 WTB06 T CURT S | S | 2022-11-03 17:32 | 0
| USWRCKY.MAB006.DBB10.WTUR1.CurtExt.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 External Curtailment Time (s) : W ROCKYR 34.5 WTB06 T CURT EXT S | S | 2022-11-03 17:41 | 0
| USWRCKY.MAB006.DBB10.WTUR1.CurtInt.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Internal Curtailment Time (s) : W ROCKYR 34.5 WTB06 T CURT INT S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.DBB10.WTUR1.CurtIntupe.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 UPE: Internal Curtailment Time (s) : W ROCKYR 34.5 WTB06 T CURT INTUPE S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.DBB10.WTUR1.ExtLimStp.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB06 External curtailment setpoint (kW) : W ROCKYR 34.5 WTB06 P SET CURT EXT KW | KW | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB006.DBB10.WTUR1.IntLimStp.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB06 Internal curtailment setpoint (kW) : W ROCKYR 34.5 WTB06 P SET CURT INT KW | KW | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB006.DBB10.WTUR1.StErr.stVal | PIPoint | Rocky Ridge 34.5 WTB06 STATE ERROR: under production : W ROCKYR 34.5 WTB06 STATE ERROR |  | 2022-11-03 17:23 | OK
| USWRCKY.MAB006.DBB10.WTUR1.StpCust.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Customer Stop Time (s) : W ROCKYR 34.5 WTB06 T STOP CUST S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.DBB10.WTUR1.StpWd.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Wind Direction Stop Time (s) : W ROCKYR 34.5 WTB06 T STOP WD S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.DBB10.WTUR1.TmpCtrlBx.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. control box (deg C) : W ROCKYR 34.5 WTB06 TMP CTRLBOX DEGC | DEGC | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB006.DBB10.WTUR1.TmpMainBx.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. main box (deg C) : W ROCKYR 34.5 WTB06 TMP MAINBOX DEGC | DEGC | 2022-11-03 17:41 | 30.625
| USWRCKY.MAB006.DBB10.WTUR1.TmpTopBx.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. top box (deg C) : W ROCKYR 34.5 WTB06 TMP TOPBOX DEGC | DEGC | 2022-11-03 17:42 | 31.1875
| USWRCKY.MAB006.DBB10.WTUR1.TotCutEnvTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Weather Out Time (s) : W ROCKYR 34.5 WTB06 T STOP WEATHER S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.DBB10.WTUR1.TotCutExTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 External Stop Time (s) : W ROCKYR 34.5 WTB06 T STOP EXT S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.DBB10.WTUR1.TotCutGriTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Line Out Time (s) : W ROCKYR 34.5 WTB06 T STOP LINEOUT S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.DBB10.WTUR1.TotDnTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Downtime (s) : W ROCKYR 34.5 WTB06 T STOP S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.DBB10.WTUR1.TotMaintTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Maintenance Time (s) : W ROCKYR 34.5 WTB06 T STOP MAINT S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.DBB10.WTUR1.TotOpTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Run Time (s) : W ROCKYR 34.5 WTB06 T RUN S | S | 2022-11-03 17:48 | 433
| USWRCKY.MAB006.DBB10.WTUR1.TotRprTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Repair Time (s) : W ROCKYR 34.5 WTB06 T STOP REPAIR S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.DBB10.WTUR1.TotSysRdyTms.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 System OK Time (s) : W ROCKYR 34.5 WTB06 T AVAIL S | S | 2022-11-03 17:48 | 433
| USWRCKY.MAB006.DBB10.WTUR1.TurAvl.stVal | PIPoint | Rocky Ridge 34.5 WTB06 WTG Availability : W ROCKYR 34.5 WTB06 STAT WTG AVAIL |  | 2022-11-03 17:24 | AVAILABLE
| USWRCKY.MAB006.DBB10.WTUR1.TurSt.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Operating State : W ROCKYR 34.5 WTB06 STAT OPSTATE | NONE | 2022-11-03 17:26 | 30
| USWRCKY.MAB006.DBB10.WTUR1.TurStExt.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Turbine State Extended : W ROCKYR 34.5 WTB06 STAT WTG STATE EXT | NONE | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB006.DBB10.WTUR1.TurStScada.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Turbine State for SCADA : W ROCKYR 34.5 WTB06 STAT WTG STATE | NONE | 2022-11-03 17:33 | 1
| USWRCKY.MAB006.DBB10.WTUR1.UpeIntLimStp.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB06 UPE: Int. curtailment setpoint (kW) : W ROCKYR 34.5 WTB06 P SET CURT INTUPE KW | KW | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB006.DBB10.WTUR1.WdBstAvl.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 WindBOOST Enabled Time (s) : W ROCKYR 34.5 WTB06 T WINDBOOST AVAIL S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.DBB10.WTUR1.WdBstOnl.tmsVal.stVal | PIPoint | Rocky Ridge 34.5 WTB06 WindBOOST Boosted Time (s) : W ROCKYR 34.5 WTB06 T WINDBOOST ONLINE S | S | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.DBB10.WTUR1.WfmsLimStp.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB06 UPE: WFMS curtailment setpoint (kW) : W ROCKYR 34.5 WTB06 P SET CURT EXTUPE KW | KW | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB006.DBB10.WTUR1.WtgModHi.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Turbine Condition for SCADA (high) : W ROCKYR 34.5 WTB06 STAT WTG MODE HI | NONE | 2022-11-03 17:33 | 2
| USWRCKY.MAB006.DBB10.WTUR1.WtgModLo.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Turbine Condition for SCADA (low) : W ROCKYR 34.5 WTB06 STAT WTG MODE LO | NONE | 2022-11-03 17:35 | 512
| USWRCKY.MAB006.DBB10.WTUR2.TurStScada.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Turbine Status for SCADA : W ROCKYR 34.5 WTB06 STAT WTG STATUS | NONE | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB006.DBB10.WTUR5.AvlPct.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Availability, MTD (%) : W ROCKYR 34.5 WTB06 WTG AVAIL MTD PCT | PCT | 2022-11-03 17:24 | 100
| USWRCKY.MAB006.DBB10.WTUR5.RelPct.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Reliability, MTD (%) : W ROCKYR 34.5 WTB06 WTG RELI MTD PCT | PCT | 2022-11-03 17:41 | 100
| USWRCKY.MAB006.DBB10.WYAW1.CmdYwAuto.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Set Yaw Mode to Automatic : W ROCKYR 34.5 WTB06 CMD YAW AUTO |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WYAW1.CmdYwLeft.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Turn Yaw Left : W ROCKYR 34.5 WTB06 CMD YAW LEFT |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WYAW1.CmdYwMan.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Set Yaw Mode to Manual : W ROCKYR 34.5 WTB06 CMD YAW MAN |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WYAW1.CmdYwRght.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Turn Yaw Right : W ROCKYR 34.5 WTB06 CMD YAW RIGHT |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBB10.WYAW1.CmdYwStop.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Stop Turning Yaw : W ROCKYR 34.5 WTB06 CMD YAW STOP |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBF10.WTUR1.AlmActNum.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Number of Active Alarms : W ROCKYR 34.5 WTB06 N FAULT | NONE | 2022-11-03 17:37 | 0
| USWRCKY.MAB006.DBF10.WTUR1.AlmCod.stVal | PIPoint | Rocky Ridge 34.5 WTB06 State and Fault : W ROCKYR 34.5 WTB06 STAT STATEFAULT | NONE | 2022-11-03 17:33 | 2
| USWRCKY.MAB006.DBF10.WTUR1.CmdAck.stVal | PIPoint | Rocky Ridge 34.5 WTB06 CMD Reset Turbine : W ROCKYR 34.5 WTB06 CMD WTG RESET |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.DBF10.WTUR1.Evnt001016.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 001-016 : W ROCKYR 34.5 WTB06 EVENT 001 016 | NONE | 2022-11-03 17:33 | 34
| USWRCKY.MAB006.DBF10.WTUR1.Evnt017032.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 017-032 : W ROCKYR 34.5 WTB06 EVENT 017 032 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt033048.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 033-048 : W ROCKYR 34.5 WTB06 EVENT 033 048 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt049064.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 049-064 : W ROCKYR 34.5 WTB06 EVENT 049 064 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt065080.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 065-080 : W ROCKYR 34.5 WTB06 EVENT 065 080 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt081096.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 081-096 : W ROCKYR 34.5 WTB06 EVENT 081 096 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt097112.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 097-112 : W ROCKYR 34.5 WTB06 EVENT 097 112 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt113128.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 113-128 : W ROCKYR 34.5 WTB06 EVENT 113 128 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt129144.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 129-144 : W ROCKYR 34.5 WTB06 EVENT 129 144 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt145160.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 145-160 : W ROCKYR 34.5 WTB06 EVENT 145 160 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt161176.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 161-176 : W ROCKYR 34.5 WTB06 EVENT 161 176 | NONE | 2022-11-03 17:36 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt177192.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 177-192 : W ROCKYR 34.5 WTB06 EVENT 177 192 | NONE | 2022-11-03 17:33 | 64
| USWRCKY.MAB006.DBF10.WTUR1.Evnt193208.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 193-208 : W ROCKYR 34.5 WTB06 EVENT 193 208 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt209224.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 209-224 : W ROCKYR 34.5 WTB06 EVENT 209 224 | NONE | 2022-11-03 17:36 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt225240.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 225-240 : W ROCKYR 34.5 WTB06 EVENT 225 240 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt241256.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 241-256 : W ROCKYR 34.5 WTB06 EVENT 241 256 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt257272.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 257-272 : W ROCKYR 34.5 WTB06 EVENT 257 272 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt273288.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 273-288 : W ROCKYR 34.5 WTB06 EVENT 273 288 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt289304.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 289-304 : W ROCKYR 34.5 WTB06 EVENT 289 304 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt305320.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 305-320 : W ROCKYR 34.5 WTB06 EVENT 305 320 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt321336.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 321-336 : W ROCKYR 34.5 WTB06 EVENT 321 336 | NONE | 2022-11-03 17:33 | 128
| USWRCKY.MAB006.DBF10.WTUR1.Evnt337352.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 337-352 : W ROCKYR 34.5 WTB06 EVENT 337 352 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt353368.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 353-368 : W ROCKYR 34.5 WTB06 EVENT 353 368 | NONE | 2022-11-03 17:33 | 4
| USWRCKY.MAB006.DBF10.WTUR1.Evnt369384.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 369-384 : W ROCKYR 34.5 WTB06 EVENT 369 384 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt385400.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 385-400 : W ROCKYR 34.5 WTB06 EVENT 385 400 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt401416.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 401-416 : W ROCKYR 34.5 WTB06 EVENT 401 416 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt417432.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 417-432 : W ROCKYR 34.5 WTB06 EVENT 417 432 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt433448.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 433-448 : W ROCKYR 34.5 WTB06 EVENT 433 448 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt449464.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 449-464 : W ROCKYR 34.5 WTB06 EVENT 449 464 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt497512.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 497-512 : W ROCKYR 34.5 WTB06 EVENT 497 512 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.DBF10.WTUR1.Evnt897912.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Events Group 897-912 : W ROCKYR 34.5 WTB06 EVENT 897 912 | NONE | 2022-11-03 17:33 | 0
| USWRCKY.MAB006.MDA10.BG001.WROT1.Bl1PthAngTgt.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Blade 1 pitch angle setpoint (deg) : W ROCKYR 34.5 WTB06 BLDANG A SET DEG | DEG | 2022-11-03 17:47 | 2.6456
| USWRCKY.MAB006.MDA10.BG001.WROT1.Bl1PthAngVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Blade 1 pitch angle (deg) : W ROCKYR 34.5 WTB06 BLDANG A DEG | DEG | 2022-11-03 17:47 | 2.6958
| USWRCKY.MAB006.MDA10.BG002.WROT1.Bl2PthAngTgt.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Blade 2 pitch angle setpoint (deg) : W ROCKYR 34.5 WTB06 BLDANG B SET DEG | DEG | 2022-11-03 17:48 | 2.3444
| USWRCKY.MAB006.MDA10.BG002.WROT1.Bl2PthAngVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Blade 2 pitch angle (deg) : W ROCKYR 34.5 WTB06 BLDANG B DEG | DEG | 2022-11-03 17:47 | 1.1271
| USWRCKY.MAB006.MDA10.BG003.WROT1.Bl3PthAngTgt.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Blade 3 pitch angle setpoint (deg) : W ROCKYR 34.5 WTB06 BLDANG C SET DEG | DEG | 2022-11-03 17:47 | 1.2047
| USWRCKY.MAB006.MDA10.BG003.WROT1.Bl3PthAngVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Blade 3 pitch angle (deg) : W ROCKYR 34.5 WTB06 BLDANG C DEG | DEG | 2022-11-03 17:46 | 2.0749
| USWRCKY.MAB006.MDA10.BW001.WCNV1.Torq.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Torque, actual value (%) : W ROCKYR 34.5 WTB06 TORQ PCT | PCT | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB006.MDA10.BW001.WCNV1.TorqSpt.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB06 Torque, set value (%) : W ROCKYR 34.5 WTB06 TORQ SET PCT | PCT | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB006.MDA10.WPPD1.CapFact.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Capacity Factor (%) : W ROCKYR 34.5 WTB06 CF PCT | PCT | 2022-11-03 17:48 | 80.989
| USWRCKY.MAB006.MDA10.WPPD5.CapFact.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Capacity Factor, MTD (%) : W ROCKYR 34.5 WTB06 CF MTD PCT | PCT | 2022-11-03 17:47 | 51.7677
| USWRCKY.MAB006.MDA10.WTUR1.Wnom.setVal | PIPoint | Rocky Ridge 34.5 WTB06 Nominal rated power (kW) : W ROCKYR 34.5 WTB06 P RATED KW | KW | 2022-11-03 17:20 | 1620
| USWRCKY.MAB006.MDA20.BG901.WROT1.Bl1PthAngTgt.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Set Blade 1 Pitch Angle FBK (deg) : W ROCKYR 34.5 WTB06 SET BLDANG A DEG FBK | DEG | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB006.MDA20.BG901.WROT1.Bl2PthAngTgt.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Set Blade 2 Pitch Angle FBK (deg) : W ROCKYR 34.5 WTB06 SET BLDANG B DEG FBK | DEG | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB006.MDA20.BG901.WROT1.Bl3PthAngTgt.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Set Blade 3 Pitch Angle FBK (deg) : W ROCKYR 34.5 WTB06 SET BLDANG C DEG FBK | DEG | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB006.MDA20.BS901.WGEN1.RotSpdSpt.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB06 Gen. speed setpoint, pitch (rpm) : W ROCKYR 34.5 WTB06 GENSPD SET PTCH RPM | RPM | 2022-11-03 17:35 | 1500
| USWRCKY.MAB006.MDA20.BS901.WGEN1.RotSpdSptFdbk.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB06 Set Generator Speed FBK (rpm) : W ROCKYR 34.5 WTB06 SET GENSPD RPM FBK | RPM | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB006.MDA20.BS901.WROT1.RotSpd.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Rotor speed, PLC (rpm) : W ROCKYR 34.5 WTB06 RTRSPD PLC RPM | RPM | 2022-11-03 17:47 | 17.4593
| USWRCKY.MAB006.MDK10.BS001.WTRM1.ShftVbr.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Drive train acceleration (mm/s^2) : W ROCKYR 34.5 WTB06 DRVTRN ACC MMSS | MMSS | 2022-11-03 17:47 | 92.3219
| USWRCKY.MAB006.MDK10.BT001.WTRM1.GbxBrg1Tmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. gearbox bearing (deg C) : W ROCKYR 34.5 WTB06 BRGTMP GBX A DEGC | DEGC | 2022-11-03 17:31 | 65.0974
| USWRCKY.MAB006.MDK20.BT001.WTRM1.GbxTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. gearbox oil (deg C) : W ROCKYR 34.5 WTB06 GBXTMP OIL DEGC | DEGC | 2022-11-03 17:48 | 62.5108
| USWRCKY.MAB006.MDK50.BT001.WTRM1.GbxBrgTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. main shaft bearing (deg C) : W ROCKYR 34.5 WTB06 BRGTMP RTR DEGC | DEGC | 2022-11-03 17:44 | 33.3668
| USWRCKY.MAB006.MDL10.BG001.WYAW1.CabWup.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Nacelle yaw position : W ROCKYR 34.5 WTB06 YAWPOS | NONE | 2022-11-03 17:46 | 0.46484
| USWRCKY.MAB006.MDX10.BP001.WTRM1.HyPres.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Hydraulic prepressure (bar) : W ROCKYR 34.5 WTB06 HYDR PRES BAR | BAR | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB006.MDY10.BJ001.WTUR1.ExWLim.almStatus.stVal | PIPoint | Rocky Ridge 34.5 WTB06 External curtailment detected : W ROCKYR 34.5 WTB06 FLAG CURT EXT |  | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB006.MDY10.BJ001.WTUR1.InWLim.almStatus.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Internal curtailment detected : W ROCKYR 34.5 WTB06 FLAG CURT INT |  | 2022-11-03 17:24 | Out of Serv
| USWRCKY.MAB006.MDY10.WTUR1.LocDsp.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Flag for Local Dispatch : W ROCKYR 34.5 WTB06 LOCAL DISPATCH |  | 2022-11-03 17:24 | OFF
| USWRCKY.MAB006.MKA00.BJ001.WTUR1.TotDmdWh.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB06 Active Energy Consumption (kWh) : W ROCKYR 34.5 WTB06 TOTP CON KWH | KWH | 2022-11-03 17:32 | 0
| USWRCKY.MAB006.MKA00.BJ001.WTUR1.TotWh.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB06 Active Energy Production (kWh) : W ROCKYR 34.5 WTB06 TOTP PROD KWH | KWH | 2022-11-03 17:48 | 195
| USWRCKY.MAB006.MKA00.BJ001.WTUR1.WdBstWh.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB06 WindBOOST Production (kWh) : W ROCKYR 34.5 WTB06 TOTP WINDBOOST KWH | KWH | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.MKA00.BJ001.WTUR2.TotWh.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB06 Net Active Energy (kWh) : W ROCKYR 34.5 WTB06 TOTP NET KWH | KWH | 2022-11-03 17:31 | 0
| USWRCKY.MAB006.MKA00.BJ002.WGEN1.AvW10.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 10-min Avg. Active Power (kW) : W ROCKYR 34.5 WTB06 P 10M ACT KW | KW | 2022-11-03 17:43 | 1488.8389
| USWRCKY.MAB006.MKA00.BJ002.WGEN1.AvW10Exp.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 10-min Expected Active Power (kW) : W ROCKYR 34.5 WTB06 P 10M EXP KW | KW | 2022-11-03 17:40 | 1552.7026
| USWRCKY.MAB006.MKA00.BJ011.WTUR1.TotQCap.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB06 Reactive Energy, Capacitive (kVArh) : W ROCKYR 34.5 WTB06 TOTQ CAP KVARH | KVARH | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.MKA00.BJ011.WTUR1.TotQInd.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB06 Reactive Energy, Inductive (kVArh) : W ROCKYR 34.5 WTB06 TOTQ IND KVARH | KVARH | 2022-11-03 17:47 | 3
| USWRCKY.MAB006.MKA00.BJ011.WTUR1.TotVArh.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB06 Reactive Energy Production (kVArh) : W ROCKYR 34.5 WTB06 TOTQ NET KVARH | KVARH | 2022-11-03 17:42 | 0
| USWRCKY.MAB006.MKA00.BJ011.WTUR1.VAr.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Reactive power, CCU (kVAr) : W ROCKYR 34.5 WTB06 Q CCU KVAR | KVAR | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB006.MKA30.BT001.WGEN1.SttTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. gen. stator winding 1 (deg C) : W ROCKYR 34.5 WTB06 GENTMP STAT1 DEGC | DEGC | 2022-11-03 17:45 | 93.5463
| USWRCKY.MAB006.MKA30.BT002.WGEN1.RotTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. gen. stator winding 2 (deg C) : W ROCKYR 34.5 WTB06 GENTMP STAT2 DEGC | DEGC | 2022-11-03 17:48 | 91.2615
| USWRCKY.MAB006.MKA30.BW001.WGEN1.TorqCmd.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Torque command to CU (Nm) : W ROCKYR 34.5 WTB06 TORQ SET NM | NM | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB006.MKA40.BS901.WGEN1.RotSpd.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Generator speed, PLC (rpm) : W ROCKYR 34.5 WTB06 GENSPD PLC RPM | RPM | 2022-11-03 17:47 | 1492.0874
| USWRCKY.MAB006.MKA40.BS901.WGEN1.RotSpdSpt2.val.mxVal.f | PIPoint | Rocky Ridge 34.5 WTB06 Gen. speed setpoint, torque (rpm) : W ROCKYR 34.5 WTB06 GENSPD SET TORQ RPM | RPM | 2022-11-03 17:35 | 1490
| USWRCKY.MAB006.MKA40.CS901.WCNV1.CnvGnRotSpd.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Generator speed, CCU (rpm) : W ROCKYR 34.5 WTB06 GENSPD CCU RPM | RPM | 2022-11-03 17:47 | 1492.6962
| USWRCKY.MAB006.MKC10.BC001.WCNV1.PhsAGriA.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Current A (A) : W ROCKYR 34.5 WTB06 I A A | AMPS | 2022-11-03 17:48 | 1171.2418
| USWRCKY.MAB006.MKC10.BC001.WCNV1.PhsBGriA.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Current B (A) : W ROCKYR 34.5 WTB06 I B A | AMPS | 2022-11-03 17:48 | 1179.6899
| USWRCKY.MAB006.MKC10.BC001.WCNV1.PhsCGriA.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Current C (A) : W ROCKYR 34.5 WTB06 I C A | AMPS | 2022-11-03 17:48 | 1176.7109
| USWRCKY.MAB006.MKC10.BJ011.WTUR1.VAr.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Reactive power (kVAr) : W ROCKYR 34.5 WTB06 Q KVAR | KVAR | 2022-11-03 17:48 | -21.5292
| USWRCKY.MAB006.MKD21.BT001.WGEN1.Brg1Tmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. generator bearing DS (deg C) : W ROCKYR 34.5 WTB06 BRGTMP GEN DS DEGC | DEGC | 2022-11-03 17:44 | 40.3048
| USWRCKY.MAB006.MKD22.BT001.WGEN1.Brg2Tmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. generator bearing NDS (deg C) : W ROCKYR 34.5 WTB06 BRGTMP GEN NDS DEGC | DEGC | 2022-11-03 17:48 | 56.1232
| USWRCKY.MAB006.MKJ10.BT001.WGEN1.InletTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. gen. cooling system (deg C) : W ROCKYR 34.5 WTB06 GENTMP COOL DEGC | DEGC | 2022-11-03 17:43 | 75.0193
| USWRCKY.MAB006.MKY10.BJ031.WAPC1.PFSpt.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Power factor, set value : W ROCKYR 34.5 WTB06 PF SET | NONE | 2022-02-03 14:31 | Scan Off
| USWRCKY.MAB006.MKY10.BJ031.WCNV1.GriPF.cVal.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Power factor : W ROCKYR 34.5 WTB06 PF | NONE | 2022-11-03 17:28 | -0.99975
| USWRCKY.MAB006.MSA10.QA052.WTUR1.SwTgrCnt.cntVal.actVal | PIPoint | Rocky Ridge 34.5 WTB06 Circuit Breaker Switch Counter : W ROCKYR 34.5 WTB06 N CRCT BRKR SWITCH | NONE | 2022-11-03 17:35 | 0
| USWRCKY.MAB006.MSC10.WGEN1.K1BrkCnt.stVal | PIPoint | Rocky Ridge 34.5 WTB06 K1 Breaker Counter : W ROCKYR 34.5 WTB06 N K1 BREAKER | NONE | 2022-11-03 17:42 | 0
| USWRCKY.MAB006.MUD10.BG001.WNAC1.Dir.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Nacelle yaw direction (deg) : W ROCKYR 34.5 WTB06 YAWDIR DEG | DEG | 2022-11-03 17:48 | 70
| USWRCKY.MAB006.MUD10.BT001.WNAC1.IntnTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Nacelle temp. (deg C) : W ROCKYR 34.5 WTB06 NACTMP DEGC | DEGC | 2022-11-03 17:48 | 28.4496
| USWRCKY.MAB006.MYA10.KF003.WTUR1.ComSt.stVal | PIPoint | Rocky Ridge 34.5 WTB06 Communication Status : W ROCKYR 34.5 WTB06 STAT COMM |  | 2022-11-03 17:24 | ON
| USWRCKY.MAB006.UMD10.BD011.WMET1.DenFact.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Wind Speed Air Density Factor : W ROCKYR 34.5 WTB06 WS DENS FACTOR | NONE | 2022-11-03 17:47 | 0.99053
| USWRCKY.MAB006.UMD10.BG001.WMET1.InsWdDir.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Wind direction (deg) : W ROCKYR 34.5 WTB06 WD DEG | DEG | 2022-11-03 17:48 | 64
| USWRCKY.MAB006.UMD10.BG901.WMET1.AvWdDir10.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 10-min Avg. Wind Direction(deg) : W ROCKYR 34.5 WTB06 WD 10M DEG | DEG | 2022-11-03 17:43 | 71.7567
| USWRCKY.MAB006.UMD10.BS001.WMET1.AdjWdSpd10.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 10-min Adj. Wind Speed (m/s) : W ROCKYR 34.5 WTB06 WS 10M ADJ MPS | MPS | 2022-11-03 17:47 | 10.9033
| USWRCKY.MAB006.UMD10.BS001.WMET1.HorWdSpd.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Wind speed (m/s) : W ROCKYR 34.5 WTB06 WS MPS | MPS | 2022-11-03 17:48 | 8.2648
| USWRCKY.MAB006.UMD10.BS001.WMET1.HorWdSpd10.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 10-min Avg. Wind Speed (m/s) : W ROCKYR 34.5 WTB06 WS 10M MPS | MPS | 2022-11-03 17:43 | 11.0075
| USWRCKY.MAB006.UMD10.BS011.WROT1.NacDv1sec.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Relative wind direction 1 s (deg) : W ROCKYR 34.5 WTB06 WD REL DEG | DEG | 2022-11-03 17:48 | -6
| USWRCKY.MAB006.UMD10.BS011.WTOW1.TowVbr.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Tower acceleration (mm/s^2) : W ROCKYR 34.5 WTB06 TWR ACC MMSS | MMSS | 2022-11-03 17:48 | 94.9988
| USWRCKY.MAB006.UMD10.BT001.WMET1.EnvTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. ambient, hub level (deg C) : W ROCKYR 34.5 WTB06 AMBTMP HUB DEGC | DEGC | 2022-11-03 17:25 | 24.7532
| USWRCKY.MAB006.UMD29.BT001.WMET1.GndEnvTmp.mag.f | PIPoint | Rocky Ridge 34.5 WTB06 Temp. ambient, ground level (deg C) : W ROCKYR 34.5 WTB06 AMBTMP GND DEGC | DEGC | 2022-11-03 17:47 | 22.882
| W ROCKYR 34.5 WTB06 INTERNAL DERATE | PIPoint | Rocky Ridge 34.5 WTB06 Flag for Internal Derate |  | 2022-11-03 17:24 | OFF